[Insert Company Logo]

SCAFFOLDING SAFETY

# Pre-Use Inspections for Scaffolding Safety

Conducting thorough inspections of scaffolding components and structures before use to identify any damage or defects.

Why This Matters

This matters because incidents linked to pre-use inspections are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Conducting thorough inspections of scaffolding components and structures before use to identify any damage or defects.

- What could go wrong: situations on this site where "Pre-Use Inspections" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Pre-Use Inspections" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Pre-Use Inspections" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.