[Insert Company Logo]

WORKING WITH WOOD

# Tool Safety for Working with Wood

Ensuring that all woodworking tools and equipment are properly maintained, inspected, and used according to manufacturer instructions.

Why This Matters

This matters because incidents linked to tool safety are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Ensuring that all woodworking tools and equipment are properly maintained, inspected, and used according to manufacturer instructions.

- What could go wrong: situations on this site where "Tool Safety" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Tool Safety" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Tool Safety" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.