[Insert Company Logo]

ELECTRICAL SAFETY

# Safe Work Distance from Power Lines for Electrical Safety

Maintain a safe distance from overhead power lines to avoid accidental contact.

Why This Matters

This matters because incidents linked to safe work distance from power lines are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Maintain a safe distance from overhead power lines to avoid accidental contact.

- What could go wrong: situations on this site where "Safe Work Distance from Power Lines" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Safe Work Distance from Power Lines" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Safe Work Distance from Power Lines" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.