[Insert Company Logo]

WORKING AT HEIGHT

# Safe Use of Ladders for Working at Height

Choosing the correct type of ladder and ensuring it is positioned on a stable surface, secured, and used at the correct angle.

Why This Matters

This matters because incidents linked to safe use of ladders are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Choosing the correct type of ladder and ensuring it is positioned on a stable surface, secured, and used at the correct angle.

- What could go wrong: situations on this site where "Safe Use of Ladders" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Safe Use of Ladders" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Safe Use of Ladders" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.