[Insert Company Logo]

FIRE SAFETY

# Emergency Shutoff Locations for Fire Safety

Know the locations of emergency shutoff valves and switches for gas and electrical systems.

Why This Matters

This matters because incidents linked to emergency shutoff locations are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Know the locations of emergency shutoff valves and switches for gas and electrical systems.

- What could go wrong: situations on this site where "Emergency Shutoff Locations" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Emergency Shutoff Locations" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Emergency Shutoff Locations" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.