[Insert Company Logo]

ELECTRICAL SAFETY

# Grounding Electrical Equipment for Electrical Safety

Properly ground electrical equipment to reduce the risk of shock.

Why This Matters

This matters because incidents linked to grounding electrical equipment are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Properly ground electrical equipment to reduce the risk of shock.

- What could go wrong: situations on this site where "Grounding Electrical Equipment" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Grounding Electrical Equipment" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Grounding Electrical Equipment" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.