[Insert Company Logo]

FIRE SAFETY

# Smoke and Fire Detection Systems for Fire Safety

Regularly test and maintain smoke detectors and fire alarms to ensure they are functioning properly.

Why This Matters

This matters because incidents linked to smoke and fire detection systems are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Regularly test and maintain smoke detectors and fire alarms to ensure they are functioning properly.

- What could go wrong: situations on this site where "Smoke and Fire Detection Systems" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Smoke and Fire Detection Systems" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Smoke and Fire Detection Systems" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.