[Insert Company Logo]

WORKING WITH CONCRETE

# Weather Considerations for Working with Concrete

Monitoring weather conditions and taking appropriate precautions to protect freshly poured concrete from freezing, excessive heat, or rain.

Why This Matters

This matters because incidents linked to weather considerations are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Monitoring weather conditions and taking appropriate precautions to protect freshly poured concrete from freezing, excessive heat, or rain.

- What could go wrong: situations on this site where "Weather Considerations" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Weather Considerations" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Weather Considerations" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.