[Insert Company Logo]

CONFINED SPACE ENTRY

# Testing Before Re-entry for Confined Space Entry

Re-test the atmosphere of confined spaces after work interruptions or changes in conditions.

Why This Matters

This matters because incidents linked to testing before re-entry are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Re-test the atmosphere of confined spaces after work interruptions or changes in conditions.

- What could go wrong: situations on this site where "Testing Before Re-entry" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Testing Before Re-entry" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Testing Before Re-entry" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.