[Insert Company Logo]

ELECTRICAL SAFETY

# Electrical Incident Response for Electrical Safety

Know how to respond to electrical incidents, including shutting off power and performing CPR.

Why This Matters

This matters because incidents linked to electrical incident response are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Know how to respond to electrical incidents, including shutting off power and performing CPR.

- What could go wrong: situations on this site where "Electrical Incident Response" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Electrical Incident Response" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Electrical Incident Response" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.