[Insert Company Logo]

FIRE SAFETY

# Proper Disposal of Combustibles for Fire Safety

Dispose of oily rags and other combustible materials in designated, fire-resistant containers.

Why This Matters

This matters because incidents linked to proper disposal of combustibles are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Dispose of oily rags and other combustible materials in designated, fire-resistant containers.

- What could go wrong: situations on this site where "Proper Disposal of Combustibles" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Proper Disposal of Combustibles" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Proper Disposal of Combustibles" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.