[Insert Company Logo]

MATERIAL HANDLING AND STORAGE

# Using Material Handling Equipment for Material Handling and Storage

Using appropriate material handling equipment, such as forklifts or pallet jacks, and ensuring operators are trained and certified.

Why This Matters

This matters because incidents linked to using material handling equipment are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Using appropriate material handling equipment, such as forklifts or pallet jacks, and ensuring operators are trained and certified.

- What could go wrong: situations on this site where "Using Material Handling Equipment" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Using Material Handling Equipment" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Using Material Handling Equipment" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.