[Insert Company Logo]

WORKING AT HEIGHT

# Training on Fall Hazards for Working at Height

Providing regular training on the risks of working at height and the proper use of fall protection systems.

Why This Matters

This matters because incidents linked to training on fall hazards are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Providing regular training on the risks of working at height and the proper use of fall protection systems.

- What could go wrong: situations on this site where "Training on Fall Hazards" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Training on Fall Hazards" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Training on Fall Hazards" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.