[Insert Company Logo]

FIRE SAFETY

# Safe Smoking Practices for Fire Safety

Smoke only in designated areas and dispose of cigarettes in proper containers to prevent accidental fires.

Why This Matters

This matters because incidents linked to safe smoking practices are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Smoke only in designated areas and dispose of cigarettes in proper containers to prevent accidental fires.

- What could go wrong: situations on this site where "Safe Smoking Practices" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Safe Smoking Practices" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Safe Smoking Practices" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.