[Insert Company Logo]

LIGHTING AND VISIBILITY

# Accessibility for Lighting and Visibility

Ensuring lighting fixtures and controls are accessible and easy to operate for all workers, including those with disabilities or mobility limitations.

Why This Matters

This matters because incidents linked to accessibility are common, preventable, and often happen when the basics get skipped under time pressure. A few minutes of attention here can prevent an injury, a lost workday, or worse.

Discussion Points

- What to check: Ensuring lighting fixtures and controls are accessible and easy to operate for all workers, including those with disabilities or mobility limitations.

- What could go wrong: situations on this site where "Accessibility" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Accessibility" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Accessibility" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.