[Insert Company Logo]

CONFINED SPACE ENTRY

# Atmospheric Testing for Confined Space Entry

Test the atmosphere of confined spaces for oxygen levels, flammable gases, and toxic substances before entry.

Why This Matters

A confined space can have an oxygen-deficient or toxic atmosphere that gives no visible or physical warning - by the time someone inside starts to feel it, they may already be unable to get themselves out.

Relevant Regulation General Safety Regulation 5 requires an employer to ensure that no person enters a confined space unless the atmosphere has been tested and found safe, and that a person is stationed outside to maintain communication and raise the alarm if needed.

Discussion Points

- What to check: Test the atmosphere of confined spaces for oxygen levels, flammable gases, and toxic substances before entry.

- What could go wrong: situations on this site where "Atmospheric Testing" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Atmospheric Testing" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Atmospheric Testing" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.