[Insert Company Logo]

FIRE SAFETY

# Fireproofing Materials and Structures for Fire Safety

Use fire-resistant materials and maintain fireproofing systems on structures and equipment.

Why This Matters

A fire can go from controllable to catastrophic in under a minute - the difference is usually whether someone knew where the nearest extinguisher was, whether it worked, and whether the escape route was actually clear.

Relevant Regulation General Safety Regulation 4 requires an employer to install adequate firefighting equipment where flammable substances are used or stored. Environmental Regulations for Workplaces, Regulation 9 requires that equipment be kept in good working order and that adequate means of evacuation exist.

Discussion Points

- What to check: Use fire-resistant materials and maintain fireproofing systems on structures and equipment.

- What could go wrong: situations on this site where "Fireproofing Materials and Structures" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Fireproofing Materials and Structures" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Fireproofing Materials and Structures" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.