[Insert Company Logo]

LIGHTING AND VISIBILITY

# Temporary Lighting for Lighting and Visibility

Using temporary lighting solutions such as portable light towers or temporary fixtures in areas where permanent lighting is not available or sufficient.

Why This Matters

Poor lighting doesn't just make work harder - it hides the hazards that good lighting would otherwise make obvious, from a trip hazard underfoot to a colleague's hand signal that goes unseen.

Relevant Regulation Environmental Regulations for Workplaces require adequate and suitable lighting to be provided wherever persons are working, to enable work to be carried out safely.

Discussion Points

- What to check: Using temporary lighting solutions such as portable light towers or temporary fixtures in areas where permanent lighting is not available or sufficient.

- What could go wrong: situations on this site where "Temporary Lighting" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Temporary Lighting" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Temporary Lighting" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.