[Insert Company Logo]

ELECTRICAL SAFETY

# Dealing with Electrical Fires for Electrical Safety

Use the correct type of fire extinguisher for electrical fires and avoid using water.

Why This Matters

Electricity gives no visible warning of danger - a live cable looks identical to a dead one, and the difference between a minor shock and a fatality can come down to something as simple as whether earth leakage protection was working.

Relevant Regulation The Electrical Installation Regulations and Electrical Machinery Regulations require all electrical installations and machinery to comply with the incorporated safety standard, to be maintained in a safe condition, and to be worked on only by a competent person.

Discussion Points

- What to check: Use the correct type of fire extinguisher for electrical fires and avoid using water.

- What could go wrong: situations on this site where "Dealing with Electrical Fires" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Dealing with Electrical Fires" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Dealing with Electrical Fires" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.