[Insert Company Logo]

HOT WORK

# Proper Fuel Storage for Hot Work

Storing flammable fuels and gases in approved containers and locations away from hot work areas.

Why This Matters

Hot work introduces an ignition source into an environment that may have flammable residues, vapours, or dust the operator isn't aware of - sparks and slag can travel and settle in places far from where the work itself is happening.

Relevant Regulation General Safety Regulations require that welding, flame cutting, or similar hot work only be undertaken with effective ventilation, and prohibit such work in a confined space unless a safe breathing air supply is provided and used.

Discussion Points

- What to check: Storing flammable fuels and gases in approved containers and locations away from hot work areas.

- What could go wrong: situations on this site where "Proper Fuel Storage" gets missed or rushed under time pressure.

- Who's responsible: everyone on this crew - speak up if you see this being skipped, don't assume someone else will.

- What to do if something's wrong: stop, report it to your supervisor, and don't continue until it's addressed.

Questions For The Crew

- Has anyone here seen a situation where "Proper Fuel Storage" wasn't being followed properly on a site?

- What would you do if you noticed a problem with "Proper Fuel Storage" right now, on this site?

Toolbox Talk Record

Date: _______________     Presented by: _______________     Site: _______________

| Name | Signature | Date |
| --- | --- | --- |

This toolbox talk is a general reference and does not replace site-specific risk assessment or a competent person's own judgement.